DELTASCOPE® DMP10 / DMP30 – Precision Coating Thickness Gauges for Ferrous Substrates

The DELTASCOPE® DMP10 and DMP30 are rugged handheld instruments for non-destructive coating thickness measurement on steel and iron using the magnetic inductive method (DIN EN ISO 2178). Both models are engineered for reliability, ease of use, and accuracy in demanding industrial environments—measuring coatings such as paint, lacquer, plastic, zinc, chrome, and copper.

While the DMP10 offers dependable, entry-level functionality and stores up to 10,000 readings, the DMP30 enhances productivity with advanced memory (250,000 readings in 2,500 batches) and built-in Bluetooth® capability for wireless data transfer. Choose based on your data management and connectivity needs.

🔧 Key Features

- Magnetic induction measurement for coatings on ferrous substrates (ISO 2178)

- Robust IP64-rated aluminum housing: shockproof, dustproof, and water-resistant

- Ergonomic handheld design with intuitive 4-key operation

- Rotatable, high-contrast color display for optimal viewing at any angle

- Visual and acoustic tolerance alerts (DMP30 also includes haptic feedback)

- USB interface for data transfer (DMP30 includes Bluetooth® dongle for wireless transfer)

- Rechargeable lithium battery with up to 24 hours of continuous runtime

- Multilingual menu navigation (22 languages), accessible for users of all skill levels

- Compatible with Fischer digital F-probes and legacy F-probes via optional adapter

- Integrated graphical user guidance for streamlined measurement workflows

- Tactile Suite® software support for data reporting and analysis

- DMP30 only: Extended memory capacity of 250,000 readings in 2,500 batches (vs. 10,000 on DMP10)

⚙️ Technical Attributes

| Attribute | DMP10 | DMP30 |
| --- | --- | --- |
| Measurement Method | Magnetic Inductive (ISO 2178) | Magnetic Inductive (ISO 2178) |
| Substrate | Ferrous materials (steel, iron) | Ferrous materials (steel, iron) |
| Coatings Measured | Paint, lacquer, plastic, Zn, Cr, Cu | Paint, lacquer, plastic, Zn, Cr, Cu |
| Display | Color, rotatable, high-contrast | Color, rotatable, high-contrast |
| Battery Runtime | Up to 24 hours | Up to 24 hours |
| Memory Capacity | 10,000 readings | 250,000 readings / 2,500 batches |
| Data Transfer | USB | USB + Bluetooth® (dongle included) |
| IP Protection | IP64 | IP64 |
| Probe Compatibility | Digital + legacy (with adapter) | Digital + legacy (with adapter) |

📦 Delivery Content

- DELTASCOPE® DMP10 or DMP30 instrument (probe sold separately)

- Compact carrying case

- Rechargeable lithium-ion battery

- USB interface cable

- Carrying strap with panic lock

- Quick-start guide (English)

- Tactile Suite® software

- DMP30 only: Bluetooth® USB dongle

⚠️ Note: External battery charger and measuring probe sold separately.

🔄 Choose Your Model

Choose the DMP10 for essential, reliable coating thickness measurement needs in manufacturing and QA environments. Upgrade to the DMP30 for enhanced data handling, batch storage, and wireless connectivity—ideal for high-throughput users and integrated quality systems.